Wave optics

- Fermat’s principle - derivation of refraction and reflection law; surfaces forming a perfect image

- Refractive index of glass, dispersion of light in optical materials, Abbe number; positive and negative connotations of dispersion

- Propagation of light in metals: definition of refractive index, reflectivity of air/metal boundary with respect to angle of incidence and wavelength; thin metal films applications

- Interference conditions, visibility of fringes, interference for various degrees of mutual coherence

- Coherence of light: temporal, spatial; coherence length

- Shape and pitch of interference fringes; wavefront and intensity splitting

- Diffraction of light at rectangular and circular aperture: shape of diffraction pattern, type of function describing the energy distribution, angular distance of first diffraction minimum

- Diffraction at double slit, Young’s experiment: description of diffraction pattern, effect of slit width and slits’ pitch

- Diffraction at a grating, grating equation, spectral orders, resolving power of a grating

- Grating types, blaze grating, echelle grating

- Resolving power of optical instruments (telescope, microscope), Rayleigh criterion

- Fundamental parts of spectrometer – their function, effect on resolving power, conditions for a correct function of the dispersing element; main characteristics of spectral instrument; spectrum forming

- Prism spectrometer: angular dispersion, resolving power of a prism, linear dispersion; examples of dispersion prisms

- Grating spectrometer: angular dispersion, resolving power of a grating, linear dispersion, free spectral range; optical layout of a spectrometer with plane grating (example)

- Michelson and Mach-Zehnder interferometers: optical layout, optical paths in reference and test arms, application example

- Thin film on glass: principle of function, design methodology, effect of angle of incidence, wavelength and polarization to the film performance

- Anti-reflective thin film systems: film materials, system of their combinations, reasons for the use of multilayer systems; application examples

- Applications of multilayer systems: beam splitters, filters, mirrors (also dichroic)

- Polarization of light: mathematical description of polarized wave for individual polarizations, effect of polarization on the behaviour of light at a boundary

- Microscope: standard and Abbe type – optical layout, magnification, resolving power

- Contrast enhancing techniques in microscopy: dark field, polarization, DIC, fluorescence.

- Refractive telescopes: Keplerian, Galilean. Magnification, resolving power. Focusing.

- Astronomical telescopes: common designs – their pros and cons; correction plates; primary mirrors’ designs, segmented mirrors

- Camera – principle, magnification, resolving power, depth of field, A-stop; fundamental parts, shutter types, autofocus principles